## Sheet1
Experiment Number | Date | Name | TCellType | ExperimentType | ReplicationNumber | Full Name | Researcher | DataType | NumTimepoints | NumConditions | NumberOfCBAStandardDilutions | CBAStandardDilutedVolume | nM Converted? | Organized? | Data Quality | Acquisition | Comments | CBADate | CellStainDate | Location
1 | 20170920 | FlatvsV | OT1 | Timeseries | 1 | 20170920-FlatvsV_OT1_Timeseries_1 | Angela | CBA | 9 | 16 |  |  | N | Missing | Missing | Missing
2 | 20170927 | PeptideComparisonByHand | OT1 | Timeseries | 1 | 20170927-PeptideComparisonByHand_OT1_Timeseries_1 | Angela | CBA,Cells | 11 | 16 | 12 | 2 | Y | Y-CBA |  | hand
3 | 20171010 | IFNyR--TimeSeries | OT1 | Timeseries | 1 | 20171010-IFNyR--TimeSeries_OT1_Timeseries_1 | Angela | CBA,Cells | 11 | 16 | 11 | 2 | Y | Y-CBA |  | hand
4 | 20171012 | B6SingleStain | - | AntibodyTest | 1 | 20171012-B6SingleStain_AntibodyTest_1 | Angela | Cells | - | - |  |  | N | N |  | hand
5 | 20171020 | PeptideComparison | OT1 | Timeseries | 1 | 20171020-PeptideComparison_OT1_Timeseries_1 | Angela | CBA,Cells | 11 | 16 | 11 | 2 | Y | Y-CBA |  | robot | Deleted first row of calibration controls (setup); didn't match any other dilution
6 | 20171027 | PeptideComparison | OT1 | Timeseries | 2 | 20171027-PeptideComparison_OT1_Timeseries_2 | Angela | CBA,Cells | 10 | 16 | 11 | 2 | Y | Y-CBA |  | robot | Had to delete 11th row of cba for each condition (might have been taken by mistake as everything was n/a for all cytokines)
7 | 20171031 | TCellNumber | OT1 | Timeseries | 1 | 20171031-TCellNumber_OT1_Timeseries_1 | Angela | CBA,Cells | 11 | 16 | 10 | 2 | Y | Y-CBA |  | robot
8 | 20171115 | PeptideComparison | OT1 | Timeseries | 3 | 20171115-PeptideComparison_OT1_Timeseries_3 | Angela | CBA,Cells | 24 | 16 | 12 | 2 | Y | Y-CBA | poor | robot | redid CBA,Cells, 2 calibrations in CBA, 2 B2 in CBA, 24 files in calibration for some reason, mismatch between time point times in notebook and on cba fig in powerpoint, might need to flip B1 to match figure
9 | 20171201 | TCellNumber | OT1 | Timeseries | 2 | 20171201-TCellNumber_OT1_Timeseries_2 | Angela | CBA | 24 | 16 | 11 | 2 | Y | Y-CBA | poor | robot | 2 calibrations, plate4 done twice, had to change n/a to 1 in plate 4 and calibration, needed to add in T+16 timepoint for all 24 timepoints to fit, might need to flip some stuff
10 | 20171205 | PeptideAdditionComparison | OT1 | Ramp | 2 | 20171205-PeptideAdditionComparison_OT1_Ramp_2 | Angela | CBA,Cells | 4 | 8 |  |  | N | Y-CBA |  | robot | 50hr fixation time
11 | 20171207 | PeptideAdditionComparison | OT1 | Ramp | 3 | 20171207-PeptideAdditionComparison_OT1_Ramp_3 | Angela | CBA,Cells | 8 | 8 |  |  | N | Y-CBA |  | robot | 49hr fixation time, where is calibration (will use calibration from ag ramp 2 for now, looks very similar)
12 | 20171213 | PeptideComparison | OT1 | Timeseries | 4 | 20171213-PeptideComparison_OT1_Timeseries_4 | Angela | CBA | 11 | 16 | 11 | 2 | Y | Y-CBA | poor (short time period) | robot | Calibraiton from AgRamp4 (20171221), used experiment info from 20171020
13 | 20171220 | 18AntibodyPanelSingleStain | - | AntibodyTest | 1 | 20171220-18AntibodyPanelSingleStain_AntibodyTest_1 | Angela | Cells | - | - |  |  | N | N |  | hand
14 | 20171221 | PeptideAdditionComparison | OT1 | Ramp | 4 | 20171221-PeptideAdditionComparison_OT1_Ramp_4 | Angela | CBA,Cells | 8 | 8 | 11 | 2 | N | Y-CBA |  | robot | unknown fixation time
15 | 20171227 | TCellNumber | OT1 | Timeseries | 3 | 20171227-TCellNumber_OT1_Timeseries_3 | Angela | CBA,Cells | 11 | 16 | 11 | 2 | N | Y-CBA |  | robot | randomized so I need to reorder the semirpocesseddata
16 | 20180108 | CD3CD28RobotvsHand | OT1 | Timeseries | 1 | 20180108-CD3CD28RobotvsHand_OT1_Timeseries_1 | Angela | CBA,Cells | 10 | 24 |  |  | N | Y-CBA |  | robot/hand | Strange plate pattern, 2 calibrations (only redid a few calibrations in calibration_001, calibration group in workspace might have only used initial calibration?? Might have also combined the two groups)
17 | 20180129 | PeptideComparison | OT1 | Timeseries | 5 | 20180129-PeptideComparison_OT1_Timeseries_5 | Angela | CBA | 24 | 16 | 11 | 2 | Y | Y-CBA |  | robot | antiCD3 Positive Control, additional samples in plate1_1 and plate2_1 are incorporated into Angela's csvs which I used, had to rearange many rows in A1/B1 to get map looking correct
18 | 20180208 | PeptideAdditionComparison | OT1 | Ramp | 7 | 20180208-PeptideAdditionComparison_OT1_Ramp_7 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
19 | 20180212 | PeptideAdditionComparison | OT1 | Ramp | 8 | 20180212-PeptideAdditionComparison_OT1_Ramp_8 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
20 | 20180214 | PeptideAdditionComparison | OT1 | Ramp | 9 | 20180214-PeptideAdditionComparison_OT1_Ramp_9 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
21 | 20180221 | PeptideAdditionComparison | OT1 | Ramp | 10 | 20180221-PeptideAdditionComparison_OT1_Ramp_10 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot | CBA2, CBA diluted exist (use CBA diluted)
22 | 20180228 | PeptideAdditionComparison | OT1 | Ramp | 11 | 20180228-PeptideAdditionComparison_OT1_Ramp_11 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot | dilute it?
23 | 20180301 | PeptideAdditionComparison | OT1 | Ramp | 12 | 20180301-PeptideAdditionComparison_OT1_Ramp_12 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot | CBA2 exists
24 | 20180309 | PeptideAdditionComparison | OT1 | Ramp | 13 | 20180309-PeptideAdditionComparison_OT1_Ramp_13 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot | Extra plots
25 | 20180319 | PeptideAdditionComparison | OT1 | Ramp | 14 | 20180319-PeptideAdditionComparison_OT1_Ramp_14 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
26 | 20180321 | PeptideAdditionComparison | OT1 | Ramp | 15 | 20180321-PeptideAdditionComparison_OT1_Ramp_15 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
27 | 20180322 | PeptideAdditionComparisonJaki | OT1 | Ramp | 1 | 20180322-PeptideAdditionComparisonJaki_OT1_Ramp_1 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot | Jaki
28 | 20180323 | PeptideComparison | OT1 | Timeseries | 6 | 20180323-PeptideComparison_OT1_Timeseries_6 | Angela | CBA,Cells | 22 | 16 | 12 | 2 | Y | Y-CBA |  | robot | antiCD3 Positive Control, moved some misc csv files in here not sure if they belong there, had to put in blank timepoints for the last column (only 22 timepoints; 22 and 24 are blanks), Timeseries 6
29 | 20180329 | PeptideAdditionComparison | OT1 | Ramp | 16 | 20180329-PeptideAdditionComparison_OT1_Ramp_16 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
30 | 20180413 | PeptideComparison | OT1 | Timeseries | 7 | 20180413-PeptideComparison_OT1_Timeseries_7 | Angela | CBA,Cells | 12 | 32 | 11 | 2 | Y | Y-CBA |  | robot | CBA diluted, needed to process samples on my own, plate order switched will try several combos, got it but order was really bad, had to code as 2 replicates, but timepoints are staggered for conditions 1-8 vs 9-16 (see two time info txt files), maybe average every other timepoint , Timeseries 7
31 | 20180418 | CD25MutantTimeSeries | OT1 | Timeseries | 1 | 20180418-CD25MutantTimeSeries_OT1_Timeseries_1 | Angela | CBA,Cells | 22 | 16 | 12 | 2 | Y | P |  | robot | CBA diluted, Cells2 exist, Calibration from 20180329 Ag ramp, used diluted cal and diluted samples, added blanks for timepoints 23 and 24
32 | 20180426 | TCellNumberTimeSeries4 | OT1 | Timeseries | 4 | 20180426-TCellNumberTimeSeries4_OT1_Timeseries_4 | Angela | Cells | 16? | 24? |  |  | N | P |  | robot | Incomplete
33 | 20180502 | DCsvsMacrophages | OT1 | Timeseries | 1 | 20180502-DCsvsMacrophages_OT1_Timeseries_1 | Angela | CBA,Cells | 19 | 16 | 11 | 2 | Y | Y-CBA |  | robot | Only 19 timepoints; 10 in A1/B1, 9 in A2/B2, had to manually move fcs files to A1/B1 to give it 12 total and 7 total in A2/B2 in flowjo (csv files reflect the change), IL4 dilutions 4/5 were n/a so 10000 was used instead; don't use IL4 data
34 | 20180515 | PeptideAdditionComparison | OT1 | Ramp | 17 | 20180515-PeptideAdditionComparison_OT1_Ramp_17 | Angela | CBA,Cells | 8 | 8 |  |  | N | P |  | robot
35 | 20180516 | TCellNumber | OT1 | Timeseries | 5 | 20180516-TCellNumber_OT1_Timeseries_5 | Angela | CBA,Cells | 16 | 15 | 10 | 2 | Y | P |  | robot | antiCD3 Tcells in there, first two calibration voltages are different than the rest of the calibration samples due to CST error, so only 10 calibration samples
36 | 20180524 | PeptideAdditionComparisonIL7 | OT1 | Ramp | 1 | 20180524-PeptideAdditionComparisonIL7_OT1_Ramp_1 | Angela | CBA,Cells | 8 | 7 |  |  | N | P |  | robot | split ramps, not sure what IL7 is doing
37 | 20180605 | TCellTypeComparisonSamePeptides | OT1,P14 | TimeSeries | 1 | 20180605-TCellTypeComparisonSamePeptides_OT1,P14_TimeSeries_1 | Angela | CBA,Cells | 9 | 64 | 11 | 2 | N | P |  | robot | duplicates, many strange cytokine heatmaps, 16 conditions x 2 Cells types x 2 duplicates
38 | 20180612 | PBMCSingleStain | - | AntibodyTest | 1 | 20180612-PBMCSingleStain_AntibodyTest_1 | Angela | Cells | - | - |  |  | N | N |  | hand | might be for ratnadeep, not sure
39 | 20180620 | EC50CellsurfaceMarkers | OT1 | DoseResponseCurve | 1 | 20180620-EC50CellsurfaceMarkers_OT1_DoseResponseCurve_1 | Angela | Cells | - | - |  |  | N | N |  | hand | similar to my experiment, worse results however
40 | 20180626 | PeptideAdditionComparison | OT1 | Ramp | 18 | 20180626-PeptideAdditionComparison_OT1_Ramp_18 | Angela | CBA,Cells | [7 empty] | robot
41 | 20180628 | PeptideComparison | OT1 | Timeseries | 8 | 20180628-PeptideComparison_OT1_Timeseries_8 | Angela | CBA,Cells | 18 | 16 | 12 | 2 | Y | Y-CBA |  | robot | had to use ramp's calibration so magnitudes might be off
42 | 20180711 | 24hrEC50Peptide | OT1 | DoseResponseCurve | 1 | 20180711-24hrEC50Peptide_OT1_DoseResponseCurve_1 | Sooraj | CBA | - | - |  |  | N | P |  | hand
43 | 20180718 | 4Antibody | OT1 | Timeseries | 1 | 20180718-4Antibody_OT1_Timeseries_1 | Sooraj | CBA | 12 | 16 | 12 | 2 | Y | P |  | robot
44 | 20180724 | 8Antibody | OT1 | Timeseries | 1 | 20180724-8Antibody_OT1_Timeseries_1 | Sooraj | CBA | 18 | 32 | 16 | 2 | Y | P |  | robot
45 | 20180730 | PulsedUnpulsedAPCRatio | OT1 | Timeseries | 1 | 20180730-PulsedUnpulsedAPCRatio_OT1_Timeseries_1 | Sooraj | CBA | 12 | 16 | 16 | 2 | Y | P |  | robot
46 | 20180802 | B6SingleStain | OT1 | AntibodyTest | 1 | 20180802-B6SingleStain_OT1_AntibodyTest_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand
47 | 20180817 | TCellNumber | OT1 | Timeseries | 6 | 20180817-TCellNumber_OT1_Timeseries_6 | Sooraj | CBA | 24 | 16 | 16 | 1 | Y | P |  | robot
48 | 20180822 | ITAMDeficient | OT1 | Timeseries | 1 | 20180822-ITAMDeficient_OT1_Timeseries_1 | Sooraj | CBA | 12 | 48 | 16 | 1 | Y | P |  | robot
49 | 20180823 | ITAMDeficientTest | OT1 | Timeseries | 1 | 20180823-ITAMDeficientTest_OT1_Timeseries_1 | Sooraj | CBA | 3 | 16 | 16 | 1 | Y | P |  | robot
50 | 20180905 | ITAMDeficient | OT1 | Timeseries | 2 | 20180905-ITAMDeficient_OT1_Timeseries_2 | Sooraj | CBA | 24,12 | 48,8 |  | 1 | Y | P | low levels | robot | two separate experiments, one with gavage induced, other with WT/6F
51 | 20180913 | 16hrEC50CellsurfaceMarker | P14 | DoseResponseCurve | 1 | 20180913-16hrEC50CellsurfaceMarker_P14_DoseResponseCurve_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand
52 | 20180913 | 22hrEC50CellsurfaceMarker | P14 | DoseResponseCurve | 1 | 20180913-22hrEC50CellsurfaceMarker_P14_DoseResponseCurve_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand
53 | 20180913 | TCellTypeComparison | OT1,P14 | Timeseries | 1 | 20180913-TCellTypeComparison_OT1,P14_Timeseries_1 | Sooraj | CBA | 12 | 16 | 16 | 1 | Y | Y-CBA |  | robot
54 | 20180913 | KbOVACalibration | OT1 | Misc | 1 | 20180913-KbOVACalibration_OT1_Misc_1 | Sooraj | Cells | - | - |  |  | N | P |  | robot
55 | 20180918 | ITAMDeficient | OT1 | Timeseries | 3 | 20180918-ITAMDeficient_OT1_Timeseries_3 | Sooraj | CBA | 24 | 16 | 16 | 1 | Y | P | Spiky (2nd plate set was probably bad somehow) | robot
56 | 20180919 | TCellTypeComparison | OT1,P14 | Timeseries | 2 | 20180919-TCellTypeComparison_OT1,P14_Timeseries_2 | Sooraj | CBA | 12 | 16 | 16 | 1 | Y | Y-CBA | Poor | robot
57 | 20180919 | 16hrThymocytesEC50CellsurfaceMarker | OT1,P14 | DoseResponseCurve | 1 | 20180919-16hrThymocytesEC50CellsurfaceMarker_OT1,P14_DoseResponseCurve_1 | Sooraj | Cells | - | - |  | 1 | N | P |  | hand
58 | 20180924 | ITK-- | OT1 | Timeseries | 1 | 20180924-ITK--_OT1_Timeseries_1 | Sooraj | CBA | 12 | 8 | 16 | 1 | N | P | Did not work | robot
59 | 20180925 | TCellTypeComparison | OT1,F5 | Timeseries | 1 | 20180925-TCellTypeComparison_OT1,F5_Timeseries_1 | Sooraj | CBA | 12 | 10 | 16 | 0.5 | Y | P | Poor | robot
60 | 20180928 | CBACalibration | - | Misc | 1 | 20180928-CBACalibration_Misc_1 | Sooraj | CBA | - | - |  |  | N | P |  | hand
61 | 20181001 | TCellTypeComparison | OT1,P14,F5 | Timeseries | 1 | 20181001-TCellTypeComparison_OT1,P14,F5_Timeseries_1 | Sooraj | CBA | 24 | 16 | 16 | 0.5 | Y | Y-CBA |  | robot
62 | 20181002 | 16hrThymocytesEC50CellsurfaceMarkerTriplicateDP | OT1,P14,F5 | DoseResponseCurve | 1 | 20181002-16hrThymocytesEC50CellsurfaceMarkerTriplicateDP_OT1,P14,F5_DoseResponseCurve_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand
63 | 20181003 | CBACalibrationPE500 | - | Misc | 1 | 20181003-CBACalibrationPE500_Misc_1 | Sooraj | CBA | - | - |  |  | N | P |  | hand
64 | 20181008 | TCellTypeComparison | OT1,F5 | Timeseries | 2 | 20181008-TCellTypeComparison_OT1,F5_Timeseries_2 | Sooraj | CBA | 12 | 26 | 16 | 0.5 | Y | Y-CBA |  | robot
65 | 20181008 | 44hrThymocytesEC50CellsurfaceMarkerDP | F5 | DoseResponseCurve | 1 | 20181008-44hrThymocytesEC50CellsurfaceMarkerDP_F5_DoseResponseCurve_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand
66 | 20181012 | AntibodyPanel | - | AntibodyTest | 1 | 20181012-AntibodyPanel_AntibodyTest_1 | Sooraj | Cells | - | - |  |  | N | P |  | hand | Only fixed
67 | 20181018 | PeptideComparison | OT1 | Timeseries | 9 | 20181018-PeptideComparison_OT1_Timeseries_9 | Sooraj | CBA | 24 | 16 | 16 | 0.5 |  |  |  | robot | Need to redo Plate A1 wells G11-12, interpolate values for now
68 | 20181101 | 2Antibody | OT1 | Timeseries | 1 | 20181101-2Antibody_OT1_Timeseries_1 | Sooraj | CBA | 24 | 48 | 16 | 0.5 |  |  |  | robot | Added CD28 instead of IL2 to timepoint 6 (A) and timepoint 21 (B), did CBA of last timepoint (24) later than others (ended up dropping)
69 | 20181114 | ITAMDeficient | OT1 | Timeseries | 4 | 20181114-ITAMDeficient_OT1_Timeseries_4 | Sooraj | CBA,Cells,SingleCells | 11 | 13 | 14 | 0.5 |  |  |  | robot | No Timepoint 1, No N4 1uM, T4, E1, Last 2 calibration samples bad; taken on upstairs FACS
70 | 20181120 | ITK-- | OT1 | Timeseries | 2 | 20181120-ITK--_OT1_Timeseries_2 | Sooraj | CBA,Cells,SingleCells | 12 | 16 | 16 | 0.5 |  |  |  | robot
71 | 20181128 | PeptideComparison | OT1 | Timeseries | 10 | 20181128-PeptideComparison_OT1_Timeseries_10 | Sooraj | CBA,Cells | 24 | 16 | 16 | 0.5 |  |  |  | robot | Will probably have to rerun cytokine data, as voltages were too low on upstairs flow cytometer; only ran back half of plates (A2 and B2) due to low methanol in previous ones
72 | 20181130 | PeptideComparison | OT1 | Timeseries | 11 | 20181130-PeptideComparison_OT1_Timeseries_11 | Sooraj | CBA | 24 | 16 | 16 | 0.5 |  |  |  | robot | A2 Fell, so every other time point is missing for conditions 1-8
73 | 20181130 | AntibodyPanel | OT1 | AntibodyTest | 2 | 20181130-AntibodyPanel_OT1_AntibodyTest_2 | Sooraj | Cells | - | - | [5 empty] | hand | includes cd4 markers (not needed)
74 | 20181206 | AntibodyPanel | OT1 | AntibodyTest | 3 | 20181206-AntibodyPanel_OT1_AntibodyTest_3 | Sooraj | Cells | - | - | [5 empty] | hand | no cd4 markers
75 | 20181216 | AntibodyPanel | OT1 | AntibodyTest | 4 | 20181216-AntibodyPanel_OT1_AntibodyTest_4 | Sooraj | Cells | - | - | [5 empty] | hand | tested different fix/perm buffers as well
76 | 20181229 | AntibodyPanel | OT1 | AntibodyTest | 5 | 20181229-AntibodyPanel_OT1_AntibodyTest_5 | Sooraj | Cells | - | - | [5 empty] | hand | tested all potential fixed markers
77 | 20190102 | AntibodyPanel | OT1 | AntibodyTest | 6 | 20190102-AntibodyPanel_OT1_AntibodyTest_6 | Sooraj | Cells | - | - | [5 empty] | hand | removed nur77 and cd3 from previous panel, tested pdl1 pe as well
78 | 20190116 | ITAMDeficient | OT1 | Timeseries | 5 | 20190116-ITAMDeficient_OT1_Timeseries_5 | Sooraj | CBA,Cells,SingleCells | 12 | 32 | 16 | 0.5 |  |  |  | robot
79 | 20190125 | PeptideComparison | OT1 | Timeseries | 12 | 20190125-PeptideComparison_OT1_Timeseries_12 | Sooraj | CBA | 3 | 64 | 16 | 0.5 |  |  |  | hand | Tested many concentrations (6) per peptide except G4/E1; only 3 timepoints, all after 20 hours
80 | 20190130 | PeptideComparison | OT1 | Timeseries | 13 | 20190130-PeptideComparison_OT1_Timeseries_13 | Sooraj | CBA | 1 | 32 | 16 | 0.5 |  |  |  | hand
81 | 20190130 | Matrigel | OT1 | Timeseries | 1 | 20190130-Matrigel_OT1_Timeseries_1 | Emmanuel | CBA | 1 | 14 | 16 | 0.5 |  |  |  | hand
82 | 20190207 | B16OVAIFNgPulsed | OT1 | Timeseries | 1 | 20190207-B16OVAIFNgPulsed_OT1_Timeseries_1 | Sooraj | CBA,Cells,SingleCells | 6 | 32 | 16 | 0.5 |  |  |  | hand
83 | 20190208 | ITAMDeficient | OT1 | Timeseries | 6 | 20190208-ITAMDeficient_OT1_Timeseries_6 | Sooraj | CBA,Cells,SingleCells | 6 | 32 | 16 | 0.5 |  |  |  | robot
84 | 20190208 | Matrigel | OT1 | Timeseries | 2 | 20190208-Matrigel_OT1_Timeseries_2 | Emmanuel | CBA | 1 | 12 | 16 | 0.5 |  |  |  | hand
85 | 20190218 | PeptideComparison | OT1 | Timeseries | 14 | 20190218-PeptideComparison_OT1_Timeseries_14 | Sooraj | CBA | 24 | 16 | 16 | 0.5 |  |  |  | robot | supposed to measure detailed time kinetics. Plate A1 fell, so we only took first 12 timepoints of A conditions
86 | 20190221 | B16OVAIFNgPulsed | OT1 | Timeseries | 2 | 20190221-B16OVAIFNgPulsed_OT1_Timeseries_2 | Sooraj | CBA | 9 | 64 | 16 | 0.5 |  |  |  | robot | only used 50K T cells per plate; timepoint 5 ran out of tips and was dried off before timepoint could be retaken
87 | 20190302 | B16OVAIFNgPulsed | OT1 | Timeseries | 3 | 20190302-B16OVAIFNgPulsed_OT1_Timeseries_3 |  | CBA,Cells,SingleCells | 8 | 24 | 16 | 1 |  |  |  | hand | 7th timepoint had bubble issues so cells were not taken up; taken live to give us access to more markers; cd86 is likely too saturated in signal (due to high laser voltage) to be used
88 | 20190308 | PeptideComparison | OT1 | Timeseries | 15 | 20190308-PeptideComparison_OT1_Timeseries_15 | Sooraj | CBA | 36 | 16 | 16 | 0.5 |  |  |  | robot | B1 E5 was dried up due to diti clog, strange spiky behavior appearing again (maybe due to broken cooling plate), IL-4 and IL-10 show up when they have never shown up before
89 | 20190313 | ITAMDeficient | OT1 | Timeseries | 7 | 20190313-ITAMDeficient_OT1_Timeseries_7 | Sooraj | CBA | 16 | 12 | 16 | 1 |  |  |  | robot | Completely failed; suspect issues with media
90 | 20190323 | B16OVAIFNgPulsed | OT1 | Timeseries | 4 | 20190323-B16OVAIFNgPulsed_OT1_Timeseries_4 | Emanuel | Cells | 3 | 96 | 16 | 1 |  |  |  | hand | CD25 had issues; very low signal, first timepoint has no Tcells and also has apcs replicated across three t cell numbers
91 | 20190322 | PeptideComparison | OT1 | Timeseries | 16 | 20190322-PeptideComparison_OT1_Timeseries_16 | Sooraj | CBA,Cells | 24 | 16 | 16 | 1 |  |  |  | robot | Accidentally mixed Q4 1uM and N4 10pM when adding APCs to divided wells; not a huge number of Tcells left for 24th timepoint; Bug with program resulted in plate A1 and A2 cell timepoints not working
92 | 20190401 | PeptideComparison | OT1 | Timeseries | 17 | 20190401-PeptideComparison_OT1_Timeseries_17 | Sooraj | Cells | 24 | 16 | [5 empty] | robot | Bug with program resulted in plate A1 cell timepoints 1-10 not working
93 | 20190404 | CD25MutantTimeSeries | OT1 | Timeseries | 2 | 20190404-CD25MutantTimeSeries_OT1_Timeseries_2 | Sooraj | CBA,Cells | 16 | 48 | 16 | 1 |  |  |  | robot | Were a lot of cells in the 2 mutants; not sure entirely why
94 | 20190405 | B16OVAIFNgPulsedProduction | B16 | Timeseries | 1 | 20190405-B16OVAIFNgPulsedProduction_B16_Timeseries_1 | Emanuel | Cells | 4 | 24 | [5 empty] | hand
95 | 20190409 | B16OVAIFNgPulsedDegradation | B16 | Timeseries | 1 | 20190409-B16OVAIFNgPulsedDegradation_B16_Timeseries_1 | Emanuel | Cells | 5 | 16 | [5 empty] | hand
96 | 20190412 | PeptideComparison | OT1 | Timeseries | 18 | 20190412-PeptideComparison_OT1_Timeseries_18 | Sooraj | CBA,Cells | 36 | 16 | 15 | 1 |  |  |  | robot | last three timepoint supernantants dried out due to low incubator humidity, calibration's undiluted sample was weird for some reason; ended up discarding the sample for 15 total calibration solutions
97 | 20190416 | AntibodyPanel | OT1 | AntibodyTest | 7 | 20190416-AntibodyPanel_OT1_AntibodyTest_7 | Sooraj | Cells | 1 | 96 | [5 empty] | hand
98 | 20190416 | B16OVAIFNgPulsedKineticsPart1 | B16 | Timeseries | 1 | 20190416-B16OVAIFNgPulsedKineticsPart1_B16_Timeseries_1 | Emanuel | Cells | 3 | 8 | [5 empty] | hand
99 | 20190416 | B16OVAIFNgPulsedKineticsPart2 | B16 | Timeseries | 1 | 20190416-B16OVAIFNgPulsedKineticsPart2_B16_Timeseries_1 | Emanuel | Cells | 3 | 48 | [5 empty] | hand
100 | 20190416 | B16OVAIFNgPulsedKineticsPart3 | B16 | Timeseries | 1 | 20190416-B16OVAIFNgPulsedKineticsPart3_B16_Timeseries_1 | Emanuel | Cells | 5 | 48 | [5 empty] | hand
101 | 20190423 | B16OVAIFNgPulsedConfluency | B16 | Timeseries | 1 | 20190423-B16OVAIFNgPulsedConfluency_B16_Timeseries_1 | Emanuel | Cells | 1 | 96 | [5 empty] | hand
102 | 20190426 | 322and412_CBA_Dilutions | OT1 | DilutionCorrection | 1 | 20190426-322and412_CBA_Dilutions_OT1_DilutionCorrection_1 | Sooraj | CBA | 36 | 5 | 16 | 1 |  |  |  | hand | 1:5 Dilution not enough for N4 1uM IL2; will have to redo
103 | 20190429 | 404and308 | OT1 | DilutionCorrection | 2 | 20190429-404and308_OT1_DilutionCorrection_2 | Sooraj | CBA | 36 | 16 | 16 | 1 |  |  |  | hand